## Water Inflow
Water inflow to Cayuga Salt Mine compiled from Cargill Annual Reports to DEC 2003-2023
" -" = no data provided in the report
Year | Shaft 1 Production (gpm) | Shaft 2 Ventilation (gpm) | Shaft 3 Service (gpm) | Shaft 4 (gpm) | Storm water runoff (gpm) | ED Plant (gpm) | Other Inflow (gpm) | Total Inflow (gpm) | Piping for Shaft 1 will reduce dispoal by (gpm) | Notes from Annual Report to DEC
2003 | 11 | 6 | - | - | 21 | 2 | - | 40
2004 | 11 | 6 | - | - | 18 | 2 | - | 37
2005 | 11 | 6 | - | - | 18 | 2 | - | 37
2006 | 13 | 4 | - | - | 0 | 7 | - | 24 |  | Three ED stacks now operational.
2007 | 13 | 4 | - | - | 0 | 7 | - | 24 |  | Action plans are now in place to continue (sic) reduce inflow into the mine over the next 3 years. The second expansion of the stormwater ED treatment plant has been commissioned and is operational. This has reduced storm water run off that is entering the mine from about 18 gpm to near 0 gpm. A system for collecting the #1 Shaft water inflow and pumping it to the surface for processing through the ED plant has been designed and funds have been allocated. Construction should be complete by October 2008, resulting in a reduction of an additional 8 gpm.
2008 | 16 | 4 | - | - | 0 | 7 | - | 27 |  | Three ED stacks now operational.
2009 | 16 | 4 | - | - | - | 7 | - | 27
2010 | 16 | 4 | - | - | - | 7 | - | 27
2011 | 16 | 4 | - | - | - | 7 | - | 27 | 6 | piping in Shaft 1 will be installed
2012 | 16 | 4 | - | - | - | 7 | - | 27 | 6 | piping in Shaft 1 still not installed
2013 | 16 | 4 | - | - | - | 7 | - | 27 | 6 | Shaft 1 piping is now operational
2014 | 30 | 10 | - | - | - | 4 | - | 44 |  | All of the water is being directed to the 4-level settling pond
2015 | 20 | 10 | - | - | - | 4 | - | 34
2016 | 20 | 4 | - | - | - | 3 | - | 27
2017 | 23 | 9 | 1 | - | - | 3 | - | 36
2018 | 25 | 1 | 1 | - | - | 3 | - | 30
2019 | 25 | 1 | 1 | - | - | 3 | 2.5 | 32.5
2020 | 22 | 1 | 1 | - | - | 1 | 4 | 29 |  | "Water labelled as other inflows is fully Saturated and is stored in various abandoned areas of th 6 Level of the mine."
2021 | 23 | 1 | 1 | - | - | 1 | 4 | 30 |  | "Water labelled as other inflows is fully Saturated and is stored in various abandoned areas of th 6 Level of the mine."
2022 | 29 | <1 | 1 | - |  | <1 | 4 | 35 |  | "Water labelled as other inflows is fully Saturated and is stored in various abandoned areas of th 6 Level of the mine."
2023 | 29 | <1 | 1 | - |  | <1 | 2 | 33